Access Statement - Sauna

Location Visitor Centre Swimming Pool

The Sauna is accessed directly from the poolside the poolside is 1400mm wide

The clear opening width of the glass door is 590mm the door has a raised threshold.

The door is free swinging.

There is limited space inside the Sauna.

The benches are slated timber construction.

The lower bench is 540mm above floor level.